Improving GGP data base content

To prepare the tasks of the future ICET-GGP Service it is important to try to optimise the GGP data flow.

Different data sampling rates are coexisting:

- 1s or 10s original data sampling kept by the data owner and sent to IRIS

- 1min decimated data uploaded on the GGP data base under raw or corrected form.

- 1h decimated data provided as a secondary GGP product

Original data sampling is used for applications in seismology (free oscillations) or local short term perturbations  e.g. pressure effects.

1min data are used as a standard for preprocessing. However the decimation filters are spreading the perturbations especially the spikes and it should be recommended to correct the original data before decimation to one minute.

1h data are used as a standard for tidal analysis. Given the structure of the tidal spectrum higher sampling rates, e.g. minute, are not bringing additional information. However with the increased data storing and computing power there are no more economic reasons to avoid direct analysis of one minute sampled data, as tidal analysis methods are able to deal with higher sampling rates. It should be noted that filters for 1min sampled data are not available for ANALYZE .

Studies of long period phenomena, e.g. polar motion, are generally using hourly samples. However daily values could be sufficient for very long-term phenomena.

Let us examine the different constrains linked with the different decimation and processing steps.

- Keeping track of the corrections

Corrections are applied on the raw minute data to suppress spikes, major earthquakes and jumps. These corrections are necessary to improve the signal to noise ratio for tidal analysis. However jumps corrections can change the long term behaviour of the data and only instrumental steps, e.g. following helium refill, should be removed when the study of long period phenomena is considered.

We propose to add an additional channel in the corrected minute data to keep track of these corrections (Table 1, Figure 1). If we define the corrections as

Corrections = Raw - Corrected

The raw data can always be recovered by the formula

Raw = Corrected + Corrections.

- Changes of calibrations

Calibration changes of previously uploaded minute data can only be taken into account by uploading again the corrected minute data multiplied by the scale factor SF, with

SF = new calibration/old calibration.

As a matter of fact this updating procedure is seldom performed at the minute data level as the tidal analysis programs ETERNA or VAV allow to introduce the scale factor SF in the header of each data block. However, up to now, this correction is only applied on the hourly data (*h2.ggp) which are usually used for tidal analysis.

A simple solution consists in uploading corrected minute data in Volts and not in nm/s2. The calibration being then entered as a scale factor in  the ETERNA format (Table 2).

These minute gravity data expressed in Volts can be decimated to one hour and used directly for tidal analysis by ETERNA or VAV as the scale factor will be used again as calibration.

- Time lag

In the tidal analysis the time lag is only used to shift the astronomical tide. As a result the residues directly computed by the ETERNA program are the same if the analysis is performed with or without the time lag correction. These residues correspond thus to the original data without time lag.

For tidal gravity predictions it is necessary to use the tidal analysis results including the time lag correction. However the subtraction of this tidal prediction from the original data will leave abnormally high tidal residues in the tidal band.

The only way to correct the data from the time lag is to shift the sampled data by the corresponding number of seconds. TSOFT provides this possibility (Table 3). The drawback of this solution is indeed that the procedure should be reiterated if the time lag value is modified later on. Moreover, as the largest time lags reach only 30 s, the effect is already negligible for long period tides (less than 0.01° for Mf) on one side and as modern SG instrumentation is equipped with low filtering devices with time lags of a few seconds only on the other, the time lag correction is only important for tidal analysis studies which does not require time shift of the data.

___________________________________________________________________________

Table 3 : application of the Tsoft  “shift sample frame” option to correct a 30s time lag

Initial data

00h19m			00h20m			00h21m

1206.36			1214.18			1222.87

shift sample frame with options	+30s,	reinterpolate data points YES

00h19m30s		       	         00h20m30s

  - 1218.25

shift sample frame with options	-30s,	reinterpolate data points NO

00h19m			00h20m			00h21m

1210.20			1218.25			1227.57

NET RESULT : advance of 30s of the observed data equivalent to a time lagcorrection of 30s

___________________________________________________________________________

- Computation of residues

As explained above the lowest tidal residues will be obtained by subtracting the tidal model derived from analysis without time lag correction. Only higher frequency tides i.e. D, SD, TD,.. will be available as the tidal analysis is not providing reliable results for LP tides.

There is another approach to eliminate the diurnal (D) and higher frequency (SD, TD,..) tides, keeping the low frequency signal including the LP tides: low pass filtering of the data. It has the advantage to be independent of any tidal model. The filters built by the Tsoft program are very efficient to eliminate the higher frequencies tides (D, SD, TD,…) with half filter length of 2 days (2880minutes, Figure 2) without attenuation of the LP tides. Local pressure data should be filtered in a similar way for later use. Subtraction of theoretical tidal signal with observed tidal parameters for higher frequency tides provides equivalent results (Figure 3).

The local pressure correction should not be applied at that level to allow improved corrections later on.

The direct subtraction of an observed tidal model is not expanding the existing gaps in the data. The model is easily recovered as data – residues.

Figure 2: spectrum in diurnal band after least squares filtering of corrected minute data with a 0.5 cpd cutoff frequency

Full line : original signal

Dotted line: filtered with half length 1440 minutes

Grey: filtered with half length 2880 minutes

- Decimation from minutes to hours

Care has to be taken to avoid attenuation of the higher frequency tides. For Tsoft users there is a minimum least-squares filter length. The half filter length 480 suggested in the Tsoft manual is too short. A half filter length of 1440 minutes (1 day) is suitable to reduce M2 attenuation below the 10-4 level (Table 4). By comparison the ETERNA filter g1m1h.nlf has an half length of 2152 minutes.

Table 4: attenuation of M2 as a function of half filter length (Apache point, 2010/03-2011/05)

| Half filter length | (M2 | attenuation |
| --- | --- | --- |
| minutes | hours | Associated Error (.00006 |  |
| 400 | 8 | 1.16175 | 0.99950 |
| 600 | 10 | 1.16204 | 0.99975 |
| 1200 | 20 | 1.16228 | 0.99995 |
| 1440 | 24 | 1.16232 | 0.99998 |
| 2160 | 36 | 1.16232 | 0.99998 |
| 4320 | 72 | 1.16233 | 1.00000 |

The drawback of long filters is an increase of data loss on each side of an even short interruption. However for studies of phenomena with periodicities larger than one day shorter decimation filters coupled with the elimination of higher frequency tides is still possible.

- Proposals for an improved GGP data handling

Let us consider first the core of the data base as it is existing now.

For the corrected minute data we suggest:

  - introducing the applied corrections as a third channel;

  - introducing a fourth channel with residues eliminating higher frequency tides i.e. D, SD, TD… bands and keeping all the longer period signals. These residues will be preferably computed by subtracting a tidal model computed without time lag correction. Local pressure correction should not be applied to allow global ones;

  - storing the corrected gravity data, corrections and residues in Volt and pressure in hPa to avoid reiterated uploading if calibrations are changed.

For the tidal analysis we suggest:

  - using directly one minute sampled data to avoid any decimation problem

  - designing a new ETERNA filter for 1min sampled data

  - using an half filter length of one day (1140 minutes) minimum when hourly data are computed

The proposed four channel structure (corrected gravity data pressure, corrections and residues) will be easily integrated in a larger data base including additional channels e.g. global pressure or sea level corrections. In that case it will be better to decimate the four channels from minutes to hours.

Table 1:  monthly ETERNA file expressed in nm/s2 with corrections. Note the unit value for the scale factor (in bold) as the data are expressed in physical units.

DATA CORRECTED AT ICET (bf.ducarme@gmail.com)

Filename                   : AP100422.ggp

Station                       : Apache Point, New Mexico, USA

Instrument                 : GWR OSG 046

Time Delay (sec)       :       1.5400      0.0100   nominal

N Latitude (deg)        :     32.78036    0.0010  measured

E Longitude (deg)      : -105.82042    0.0010  measured

Elevation MSL (m)    : 2788.0000     5.0000  measured

Gravity Cal (uGal/V) :   -79.3300     0.1000     tides

Pressure Cal (hPa/V)  :      1.0000     0.0001   nominal

Author                        : Tom Murphy (tmurphy@physics.ucsd.edu)

yyyymmdd hhmmss  grav(nm/s**2)  press(hPa) corr(nm/s**2)

C******************************************************

INSTR            1.0000      1.0000     1.540         0

77777777         0.0         0.0       0.0

20100401 000000  1054.021   723.608    1.516

.

.

.

20100404 223000   153.804   726.201     1.517

20100404 223100   152.993   726.180     1.517

20100404 223200   152.125   726.197     1.515

20100404 223300   151.183   726.214     1.517

20100404 223400   150.299   726.200     1.510

20100404 223500   149.493   726.176     1.664

20100404 223600   148.630   726.180     1.860

20100404 223700   147.750   726.200     0.710

20100404 223800   146.941   726.207     0.873

20100404 223900   146.152   726.217    13.823

20100404 224000   145.370   726.235     8.691

20100404 224100   144.678   726.233   -58.371

20100404 224200   144.071   726.213   -23.644

20100404 224300   143.484   726.197   330.993

20100404 224400   142.910   726.186   854.433

20100404 224500   142.362   726.177  1181.025

20100404 224600   141.793   726.185  1136.671

20100404 224700   141.184   726.216   986.404

20100404 224800   140.611   726.245   748.850

20100404 224900   140.136   726.252   342.159

20100404 225000   139.733   726.245    54.640

.

.

.

20100404 233900   155.274   726.315     4.013

20100404 234000   156.303   726.320     3.933

Table 2: monthly ETERNA file expressed in V with corrections.  Note that the scale factor (in bold) corresponds to the calibration factor as the data are expressed in Volt.

DATA CORRECTED AT ICET (bf.ducarme@gmail.com)

Filename                       : AP100422.ggp

Station                           : Apache Point, New Mexico, USA

Instrument                     : GWR OSG 046

Time Delay (sec)           :       1.5400      0.0100   nominal

N Latitude (deg)            :     32.78036    0.0010  measured

E Longitude (deg)          : -105.82042    0.0010  measured

Elevation MSL (m)        : 2788.0000      5.0000  measured

Gravity Cal (uGal/V)     :   -79.3300       0.1000     tides

Pressure Cal (hPa/V)     :       1.0000      0.0001   nominal

Author              : Tom Murphy (tmurphy@physics.ucsd.edu)

yyyymmdd hhmmss  gravity(V)  pressure(hPa) corrections(V)

C******************************************************

INSTR           -793.3300    1.0000     1.540         0

77777777         0.0         0.0       0.0

20100401      0 -1.328654   723.608 -0.001912

.

.

.

20100404 223000 -0.193879   726.201 -0.001913

20100404 223100 -0.192856   726.180 -0.001912

20100404 223200 -0.191762   726.196 -0.001910

20100404 223300 -0.190575   726.214 -0.001913

20100404 223400 -0.189461   726.200 -0.001904

20100404 223500 -0.188444   726.176 -0.002097

20100404 223600 -0.187357   726.180 -0.002345

20100404 223700 -0.186248   726.200 -0.000896

20100404 223800 -0.185228   726.207 -0.001101

20100404 223900 -0.184233   726.217 -0.017425

20100404 224000 -0.183247   726.235 -0.010954

20100404 224100 -0.182375   726.233  0.073581

20100404 224200 -0.181610   726.213  0.029805

20100404 224300 -0.180870   726.197 -0.417236

20100404 224400 -0.180147   726.186 -1.077062

20100404 224500 -0.179456   726.177 -1.488750

20100404 224600 -0.178738   726.185 -1.432839

20100404 224700 -0.177970   726.216 -1.243418

20100404 224800 -0.177249   726.245 -0.943969

20100404 224900 -0.176649   726.252 -0.431311

20100404 225000 -0.176142   726.245 -0.068877

.

.

.

20100404 233900 -0.195731   726.315 -0.005058

20100404 234000 -0.197029   726.320 -0.004957

Figure 1: corrected data (middle) =  raw data (up) + corrections (bottom)

Figure 3: computation of residues (minute sampling)

Upper: observed gravity minus theoretical model deduced from observations;

Lower: least squares filtered data with cutoff 0.5 cycle/day and half filter 2880 min.

A small gap is expanded due to the large filter length.